QUESTIONNAIRE FOR CIVIL WASTE WATER

date _________

Name	_______________

Address	_______________

Contact person	_______________

Work processing and site characteristics

Average flow at dry weather		________________ m3/d

Average flow at rainy weather		________________ m3/d

Served inhabitants		________________eq/ inhab.

Water supply		________________ lt/inhab/d.

Coefficient inflow  in sewers		________________ %

Kind of sewer:	unitary ( 	separated (

The sewers collect only civil discharge, or civil and industrial discharge

only civil ( 	civil + industrial (

If collecting industrial discharge indicate what kind of industry _______________

________________	 		________________

________________

Height of the site		________________ a.s.l.

Frequency and tension		_______HZ_______ V

Available surface for the plant	________________ m³

Quota sewers inlet compared to plane land	________________ m

Notes and remarks:

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Analytical data pertinent to the waste water

- COD specific	min _____	avarage_____max_____	mg/lt

- BOD5 specific	min _____	avarage _____max_____	mg/lt

- Temperature	min _____	avarage _____max_____	° C

- BOD5	      _____ gr/eq./inhab.

- Suspended solids	      _____ gr/eq./inhab

- Total Nitrogen (TKN)	      _____ gr/eq./inhab

- Total Phosphorus (P)	      _____ gr/eq./inhab

- Sulphate	      _____ mg/lt

- Chloride	      _____ mg/lt

- Surfactants	      _____ mg/lt

- Phenol	      _____ mg/lt

- Oil and grease	      _____ mg/lt

Eventual increase of the flow expected for the future

2° stage       3° stage      4° stage

Daily process flow	m³/g	_______	_______	_______

- COD	mg/lt	_______       _______       _______

- BOD5	mg/lt	_______       _______       _______